March 2023

| Americas Bosch Security Systems, Inc. 130 Perinton Parkway Fairport, New York, 14450, USA Phone: + 1 800 289 0096 Fax: +1 585 223 9180 security.sales@us.bosch.com www.boschsecurity.us | Europe, Middle East, Africa Bosch Security Systems B.V. P.O. Box 80002 5600 JB Eindhoven, The Netherlands Phone: + 31 40 2577 284 Fax: +31 40 2577 330 emea.securitysystems@bosch.com www.boschsecurity.com | Asia-Pacific Robert Bosch (SEA) Pte Ltd, Security Systems 11 Bishan Street 21 Singapore 573943 Phone: +65 6571 2600 Fax: +65 6571 2698 apr.securitysystems@bosch.com www.boschsecurity.com |
| --- | --- | --- |

Product guide specification

BOSCH MVC-IVA-PER IVA Pro Perimeter

- Performance requirements

    - The video analytics software shall detect crawling, rolling, and other suspicious movements inside, outside, and under various conditions while minimizing false triggers.

    - The video analytics software shall intelligently adapt to challenging situations like lighting differences or environmental conditions, such as rain, snow, clouds, blowing leaves, and shaking cameras and automatically reduce false alarms that way.

    - The video analytics software shall provide the following tracking modes:

      - Perimeter tracking (2D)

      - Perimeter tracking (3D)

      - People tracking (3D)

      - Museum mode (2D)

      - Ship tracking (2D)

    - The video analytics software shall provide the following object classes:

      - Person

      - Bike

      - Car

      - Truck

    - The video analytics software shall provide the following alarm and statistic tasks:

      - Detect objects within, entering, or leaving a single or multiple (up to three) defined detection zones in specified sequence or timing

      - Detect multiple line crossings from a single line up to three lines combined in specified sequence or timing

      - Detect objects traversing a route

      - Detect loitering in an area related to radius and time

      - Detect objects that have started or stopped moving

      - Detect left or removed objects

      - Detect objects with properties, such as size, speed, direction, and aspect ratio, that change within a configured time according to specification

      - Count objects crossing a virtual line

      - Count objects within an area and alarm if a predefined threshold is reached

      - Combine tasks using scripts

    - The video analytics software shall be configurable to ignore specified image areas and small objects to enhance robustness.

    - The video analytics software shall include the calibration possibility to transform 2D pixels into 3D real-world measures, including size, speed, and geolocation of objects for tracking use cases.

    - The video analytics software shall run in full on the camera without any need of external hardware or software.

    - The video analytics software shall provide intelligence-at-the-edge technology which allows users to reduce bandwidth and storage in the absence of action and switch back to full image quality in case of video analytics alarms.

    - The video analytics software shall be able to be used for full forensic search in which the rules can be changed within a video management system, even after the fact. New tasks shall be able to be defined and adapted for each search, and the recorded metadata shall then be scanned and evaluated accordingly for an event list. With forensic search, the video analytics software shall scan a huge recording database for events within seconds.

    - The video analytics software shall provide intuitive graphical user interface.

    - The video analytics software shall detect and alarm on any moving object in the scene with minimal configuration. To achieve the best performance with respect to detection rate, detection distance, and false alarm resistance, the video analytics software shall provide the option to add calibration and to switch to 3D processing.

    - The video analytics software shall provide assisted calibration.

    - The video analytics software can detect up to 20 objects per frame in real time, or up to 64 objects with reduced frame rate.

    - For PTZ cameras, the video analytics software shall offer a global mode active outside of prepositions and even when the camera is moving, where objects in a field can be detected and alarmed upon.

- Manufacturers

Acceptable Manufacturer:

[Bosch Security Systems, Inc.

130 Perinton Parkway

Fairport, New York, 14450, USA

Phone: + 1 800 289 0096

Fax: + 1 585 223 9180

security.sales@us.bosch.com

www.boschsecurity.us]

[Bosch Security Systems B.V.

P.O. Box 80002

5600 JB Eindhoven, The Netherlands

Phone: + 31 40 2577 284

Fax: +31 40 2577 330

emea.securitysystems@bosch.com

www.boschsecurity.com]

[Asia-Pacific

Robert Bosch (SEA) Pte Ltd, Security Systems

11 Bishan Street 21

Singapore 573943

Phone: +65 6571 2600

Fax: +65 6571 2698

apr.securitysystems@bosch.com

www.boschsecurity.com]

END OF SECTION

202303130929